# BULLET-RESISTANT/FORCED ENTRY LAMINATED GLASS

# Guide Specifications for USA and Canada

The specifications below are offered as desirable inclusions in glass and glazing specifications but are not intended to be complete. All specifications are subject to change without notice.  An appropriate and qualified design professional must verify suitability of a particular product for use in an application as well as review final specifications.

SECTION 08 88 53 SECURITY GLAZING /

SECTION 08 88 56 BALLISTICS-RESISTANT GLAZING

PART 1 GENERAL

  - SUMMARY

- Section Includes: Laminated security glazing, bullet-resistant glass, forced entry resistant glazing.

- Related Sections

Specifier’s note: List all related sections

  - Drawings, General and Supplementary Conditions of the Contract, Division 1 and the following Specification Sections, apply to this Section.

  - Section 08 41 00 – Entrances and Storefronts

  - Section 08 42 00 – Entrances

  - Section 08 43 00 – Storefronts

  - Section 08 44 00 – Curtain Wall and Glazed Assemblies

  - Section 08 50 00 – Windows

  - Section 08 60 00 – Roof Windows and Skylights

  - REFERENCES

Specifier’s note:  Delete all reference standards that are not actually required and add any additional standards necessary.

  - ANSI Z97.1 - American National Standard for Glazing Materials Used in Buildings - Safety Performance Specifications and Methods of Test.

  - ASTM C1036 - Standard Specification for Flat Glass.

  - ASTM C1048 - Standard Specification for Heat-Treated Flat Glass -- Kind HS, Kind FT Coated and Uncoated Glass.

  - ASTM C1349 - Standard Specification for Architectural Flat Glass Clad Polycarbonate.

  - ASTM E2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

  - ASTM F1233 - Standard Test Method for Security Glazing Materials and Systems.

  - ASTM F1915 – Standard Test Method for Glazing for Detention Facilities

  - CPSC 16 CFR 1201 - Safety Standard for Architectural Glazing Materials.

  - HP White TP-0500 - Transparent Materials for Use in Forced Entry or Containment Barriers.  Earlier versions of this standard will not be accepted.

  - Walker, McGough, Foltz and Lyerla - WMFL 8801 Attack Resistant Standard.

  - Underwriter’s Laboratories - UL 752 Bullet Resisting Equipment.

  - National Institute of Justice - NIJ 0108.01 Ballistic Resistant Protective Materials.

  - GANA Glazing Manual; Glass Association of North America.

  - GANA Sealant Manual; Glass Association of North America.

  - GANA Laminated Glass Design Guide; Glass Association of North America.

  - Oldcastle BuildingEnvelope® - Glazing Instructions.

  - DEFINITIONS

- Bullet-Resistant Glass: A multiple lamination of glass or glass and plastic that is designed to resist penetration from medium-to-super-power small arms and high-power rifles and to minimize spalling.

- Forced Entry Glass: A multiple lamination of glass or glass and plastic that is designed to resist penetration from physical attack.

  - SYSTEM DESCRIPTION

- Design Requirements

  - Provide glazing systems capable of withstanding normal thermal movements, windloads and impact loads, without failure, including loss due to defective manufacture, fabrication and installation; deterioration of glazing materials; and other defects in construction.

  - Provide glass products in the thicknesses and strengths (annealed or heat-treated) required to meet or exceed the following criteria based on project loads and in-service conditions per ASTM E1300.

- Minimum thickness of annealed or heat-treated glass products is selected, so the worst-case probability of failure does not exceed the following:

  - 8 breaks per 1000 for glass installed vertically or not over 15 degrees from the vertical plane and under wind action.

  - 1 break per 1000 for glass installed 15 degrees or more from the vertical plane and under action of wind and/or snow.

  - SUBMITTALS

- Submit 12-inch (305mm) square samples of each type of glass indicated (except clear monolithic glass products), and 12-inch (305mm) long samples of each color required (except black) for each type of sealant or gasket exposed to view.

- Submit manufacturer’s product data for each security glazing type, including type of materials, thickness, method of test, test performance report and glazing and cleaning instructions.

- Glazing contractor shall obtain compatibility and adhesion test reports from sealant manufacturer, indicating that glazing materials were tested for compatibility and adhesion with glazing sealant, as well as other glazing materials including insulating units.

- Glazing Contractor shall provide test reports showing that the glass meets the requirements of any security test reports specified on drawings.

  - QUALITY ASSURANCE

- Manufacturers Qualifications:  Firm experienced in manufacturing security glass, types as specified, with minimum documented 5 years of successful in-service performance.

- Installers Qualification:  Engage a firm experienced in installing security glass, types as specified, with minimum documented 5 years of successful in-service performance.

- Testing Agencies:  Subject to compliance with requirements, acceptable testing agencies are:

1.  HP White Laboratories, Inc.

2.  Warnock-Hersey International

  - Wiss, Janney, Elstner Associates, Inc.

  - Underwriters Laboratories, Inc.

  - Intertek

- Comply with published recommendations of glass product manufacturers and organizations below, except where more stringent requirements are indicated. Refer to these publications for glazing terms not otherwise defined in this section or referenced standards.

- GANA Publications

- AAMA Publications

- Single-source fabrication responsibility: All fabricated glass shall be processed and supplied by a single fabricator.

  - DELIVERY, STORAGE AND HANDLING

- Comply with manufacturer’s instruction for receiving, handling, storing and protecting glass & glazing materials.

- Delivery: Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

- Storage and Protection: Store materials protected from exposure to harmful environmental conditions and at temperature and humidity conditions recommended by the manufacturer.

- Exercise exceptional care to prevent edge damage to glass and damage/deterioration to coating on glass.

  - PROJECT / SITE CONDITIONS

- Environmental Requirements: Installation of glass products at ambient air temperature below 40 degrees F (4.4 degrees C) is prohibited.

- Field Measurements: When construction schedule permits, verify field measurements with drawing dimensions prior to fabrication of glass products.

  - WARRANTY

- Provide written 5-year warranty from date of manufacture for laminated security glass. Warranty covers deterioration due to normal conditions of use and not to handling installing, protecting and maintaining practices contrary to glass manufacturer’s published instructions.

PART 2 PRODUCTS

  - MANUFACTURERS

- Approved Manufacturers: Subject to compliance with requirements, provide products from one of the following manufacturers:

  - Oldcastle BuildingEnvelope®

  - MATERIALS

      - Security Glass Types

        - Provide glass types as indicated.

- Laminated Assemblies:  Laminated security glass assemblies are to be bonded with polyvinyl and/or aliphatic polyurethane interlayers, as required, and fabricated in an autoclave using heat, plus pressure producing products free of foreign substances and air pockets.

- Attack Resistant Glazing – Laminated Glass

Specifier’s note:  These products provided minimal attack resistance and should be used cautiously.   Select all products that apply.  Delete all products not used.

  - Type SG-1 – Laminated Glass, Clear:  Consisting of 3 plies of 3mm heat strengthened glass bonded together with 2 plies of .090 polyvinyl butyral.  Overall nominal thickness shall be 1/2".  Product shall comply with:

    - ASTM F1233, Class 1 Body Passage.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® #111000.

  - Type SG-2 – Laminated Glass, Clear:  Consisting of 4 plies of 3mm heat strengthened glass bonded together with 3 plies of .090 polyvinyl butyral.  Overall nominal thickness shall be 3/4".  Product shall comply with:

    - ASTM F1233, Class 1 Body Passage and Class 1 Contraband Passage.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® #112000.

  - Type SG-3 – Laminated Glass, Clear:  Consisting of 5 plies of 3mm heat strengthened glass bonded together with 4 plies of .090 polyvinyl butyral.  Overall nominal thickness shall be 1".  Product shall comply with:

    - ASTM F1233, Class 1 Body Passage and Class 1 Contraband Passage.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® #113000.

- Forced Entry Security Glazing – Glass-Clad Polycarbonates.

Specifier’s note:  These products are intended for use in an area where forced entry/exit is the primary threat.  Although these products do provide some ballistic resistance, they are not designed to resist spalling.  Select all products that apply and delete those that don’t.

  - Type SG-FE1 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a single ply polycarbonate core.  Overall nominal thickness shall be 7/16".  Product shall comply with:

    - HPW-TP-0500, Forced Entry Level 1 and Ballistics Level A, .38 Special (ballistics stoppage spall penetration)

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #121000.

  - Type SG-FE2 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a single ply polycarbonate core.  Overall nominal thickness shall be 9/16".  Product shall comply with:

    - HPW-TP-0500, Forced Entry Level 1 and Ballistics Level A, .38 Special (ballistics stoppage spall penetration).

    - ASTM F1915, Grade 4

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #121100.

  - Type SG-FE3 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a single ply polycarbonate core.  Overall nominal thickness shall be 11/16".  Product shall comply with:

    - HPW-TP-0500, Forced Entry Level 1 and Ballistics Level B, .9mm (ballistics stoppage spall penetration).

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #121200.

  - Type SG-FE4 – Glass-clad polycarbonate, Clear Inner and outer lites shall be 3mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be ¾”. Products shall comply with the following standard:

    - ASTM F1915, Grade 2

  - Type SG-FE5- Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 3/4".  Product shall comply with the following standards:

    - HPW-TP-0500, Forced Entry Level 3 and Ballistics Level B, .9mm (ballistics stoppage spall penetration).

    - WMFL 30-Minute Attack Resistance.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #123000.

  - Type SG-FE6 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 13/16".  Product shall comply with the following standards:

    - HPW-TP-0500, Forced Entry Level 2 and Ballistics Level B, .9mm (ballistics stoppage spall penetration).

    - WMFL 30-Minute Attack Resistance.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #122000.

  - Type SG-FE7 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 7/8".  Product shall comply with the following standards:

    - HPW-TP-0500, Forced Entry Level 3 and Ballistics Level B, .9mm (ballistics stoppage spall penetration).

    - WMFL 60-Minute Attack Resistance.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #123100.

  - Type SG-FE8 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 3mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 15/16".  Product shall comply with the following standards:

    - HPW-TP-0500, Forced Entry Level 2 and Ballistics Level B, .9mm (ballistics stoppage spall penetration).

    - WMFL 60-Minute Attack Resistance.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #123200.

  - Type SG-FE9 – Glass-clad polycarbonate, Clear. Inner and outer lites shall be 3mm heat-strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 1”.  Product shall comply with the following standard:

    - ASTM F1915, Grade 1

  - Type SG-FE10 - Glass-clad polycarbonate, Clear:  Inner and outer lites shall be 6mm heat strengthened glass with a multiply polycarbonate core.  Overall nominal thickness shall be 1-1/4".  Product shall comply with:

    - WMFL 60-Minute Attack Resistance and 25 rounds .44 magnum.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #124100.

- Forced Entry and Bullet Resistant Security Glazing – Glass and Polycarbonate

Specifier’s note:  This product is intended for use in an area where forced entry/exit and no-spall ballistic resistance is required.  Select all products that apply and delete those that don’t.

  - Type SG-FE/BR1 - Glass and Polycarbonate, Clear:  Attack face shall be 6mm heat strengthened glass laminated to a multiply polycarbonate core.  Interior face shall be an exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 1-3/8".  Product shall comply with the following standards:

    - WMFL 60-Minute Attack Resistance and 25 rounds .44 magnum.

    - UL 752, Level 3, .44 Magnum.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Plus #124200.

- Forced Entry and Bullet Resistant Security Glazing – Laminated Polycarbonate

Specifier’s note:  These products are intended for use in an area where forced entry/exit is the primary threat and no-spall ballistic resistance is also required. They are not intended for use in exterior applications.  Select all products that apply.

  - Type SG-FE/BR2 - Laminated Polycarbonate, Clear:  Two pieces of 3/16 polycarbonate bonded together with urethane interlayers.  Exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 3/8".  Product shall comply with:

    - HPW-TP-0500 Forced Entry Level 2 (step 14) and Ballistics Level A, .38 Special.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Max #132000.

  - Type SG-FE/BR3 - Laminated Polycarbonate, Clear:  Two pieces of 1/8" polycarbonate laminated to a 1/4" polycarbonate core bonded together with urethane interlayers.  Exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 1/2".  Product shall comply with:

    - HPW-TP-0500. Forced Entry Level 3 (step 16) and Ballistics Level A, .38 Special.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Max #132000.

  - Type SG-FE/BR4 - Laminated Polycarbonate, Clear:  Two pieces of 1/8" polycarbonate laminated to a 1/2" polycarbonate core bonded together with urethane interlayers.  Exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 3/4".  Product shall comply with:

    - HPW-TP-0500Forced Entry Level 4 (step 38) and Ballistics Level B, .9mm.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Max #134000.

  - Type SG-FE/BR5 - Laminated Polycarbonate, Clear:  Two pieces of 1/8" polycarbonate laminated to a polycarbonate core consisting of two plies of 3/8" polycarbonate bonded together with urethane interlayers.  Exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 1".  Product shall comply with the following standards:

    - HPW-TP-0500Forced Entry Level 5 – No forced entry at test completion and Ballistics Level B, .9mm.

    - UL 752, Level 2, .357 Magnum.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Max #135000.

  - Type SG-FE/BR6 - Laminated Polycarbonate, Clear:  Two pieces of 1/8" polycarbonate laminated to a polycarbonate core consisting of two plies of 1/2" polycarbonate bonded together with urethane interlayers.  Exposed polycarbonate shall have a mar resistant coating.  Overall nominal thickness shall be 1-1/4".  Product shall comply with the following standards:

    - HPW-TP-0500Forced Entry Level 5 – No forced entry at test completion and Ballistics Level C, .44 Magnum.

    - WMFL 60-Minute Attack Resistance.

    - UL 752, Level 3, .44 Magnum.

    - Earlier versions of the HP White standard will not be accepted.

    - Basis for design Oldcastle BuildingEnvelope® ArmorProtect® Max #135100.

- Bullet-Resistant Security Glazing – Glass and Polycarbonate

Specifier’s note:  These products are intended for use in an area where no-spall ballistic resistance is required.  They do not provide forced entry/exit resistance.  Select all products that apply and delete those that don’t.

  - Type SG-BR1 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 13/16".  Product shall comply with:

    - UL 752, Level 1, .9mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #221000.

  - Type SG-BR2 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.03".  Product shall comply with:

    - UL 752, Level 2, .357 Magnum.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #222000.

  - Type SG-BR3 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.22".  Product shall comply with:

    - UL 752, Level 3, .44 Magnum.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #223000.

  - Type SG-BR4 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.28".  Product shall comply with:

    - UL 752, Level 4, .30-06.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus # 224200.

  - Type SG-BR5 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.28”.  Product shall comply with:

    - UL 752, Level 5, 7.62mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #225000.

  - Type SG-BR6 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.04".  Product shall comply with:

    - UL 752, Level 6, .9mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #226000.

  - SG-BR7 - Glass and Polycarbonate, Clear:  Attack face shall be annealed glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 2".  Product shall comply with:

    - UL 752, Level 7, 5.56mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus # 227100

  - Type SG-BR8 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 2.17".  Product shall comply with:

    - UL 752, Level 8, 7.62mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #228000.

  - Type SG-BR9 - Glass and Polycarbonate, Clear:  Attack face shall be 3mm heat strengthened glass laminated to a multiply glass core.  Interior face shall be an exposed polycarbonate with a mar resistant coating.  Overall nominal thickness shall be 1.68".  Product shall comply with:

    - National Institute of Justice Level 3, 7.62mm.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® Plus #223010

- Bullet Resistant Security Glazing – All Glass Laminates

Specifier’s note:  These products are intended for use in an area where no-spall ballistic resistance is required.  They do not provide forced entry/exit resistance.  Select all products that apply.	Delete all products not used.

  - Type BR1 – Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-3/16".  Product shall comply with:

    - UL 752, Level 1, .9mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #211000.

  - Type BR2 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-1/2".  Product shall comply with:

    - UL 752, Level 2, .357 Magnum.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #212000.

  - Type BR3 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 2".  Product shall comply with:

    - UL 752, Level 3, .44 Magnum.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #213000.

  - Type BR4 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 2".  Product shall comply with:

    - UL 752, Level 4, .30-06.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #214000.

  - Type BR5 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 2".  Product shall comply with:

    - UL 752, Level 5, 7.62mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #215000.

  - Type BR6 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-13/16".  Product shall comply with:

    - UL 752, Level 6, .9mm.

    - Product shall be UL labeled.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #216000.

  - Type BR7 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-3/16".  Product shall comply with:

    - National Institute of Justice Level 2A, .357 Magnum/. 9mm.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #212100.

  - Type BR8 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-1/2".  Product shall comply with:

    - National Institute of Justice Level 2, .357 Magnum/. 9mm.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #212200.

  - Type BR9 - Laminated Glass, Clear:  Consisting of multiple plies of glass and PVB interlayers.  Overall nominal thickness shall be 1-3/4".  Product shall comply with:

    - National Institute of Justice Level 3A, .44 Magnum/.9mm.

    - Basis for design Oldcastle BuildingEnvelope® ArmorResist® #213100.

- Security Glass Sealed Insulating Glass (IG) Units

Specifier’s note:  Any of the security glazing products specified herein can be incorporated into an insulating glass unit, with the exception of the laminated polycarbonates. Security glass products are typically the interior lite of the IGU.  However, any product with an exposed polycarbonate must be the interior lite of the IGU.  Any bullet resistant product must be the interior lite of the IGU.

  - Type SG-IGU:

    - Insulating Glass Unit Makeup

      - Outboard Lite

        - Glass Type:

        - Glass Tint:

        - Nominal Thickness:

        - Glass Strength: (Annealed, Heat-Strengthened, Tempered)

        - Coating Orientation: (N/A, Surface #___)

      - Spacer

        - Nominal Thickness:

        - Gas Fill: (Air or 90% Argon)

      - Inboard Lite: Specifier’s note:  Insert required security glass type from above here.

    - Provide hermetically sealed IG units with dehydrated airspace, dual sealed with a primary seal of polyisobutylene (PIB), or thermo plastic spacer (TPS) and a secondary seal of silicone or an organic sealant depending on the application.

    - US Requirements:

      - Insulating glass units are certified through the Insulating Glass Certification Council (IGCC) to ASTM E2190.

      - Annealed float glass shall comply with ASTM C1036, Type I, Class 1 (clear), Class 2 (tinted), Quality-Q3.

      - Heat-Strengthened float glass shall comply with ASTM C1048, Type I, Class 1 (clear), Class 2 (tinted), Quality Q3, Kind HS.

      - Tempered float glass shall comply with ASTM C1048, Type I, Class 1 (clear), Class 2 (tinted), Quality Q3, Kind FT.

      - Laminated float glass shall comply with ASTM C1172 and with other requirements as specified (UL, NIJ, WMFL, HP White, ASTM F 1233, etc.).

    - Canadian Requirements:

      - The Insulating Glass Manufacturers Alliance (IGMA) sponsors two certification programs in Canada.  Insulating glass units are certified either through the Insulating Glass Manufacturers Association of Canada (IGMAC) to CAN/CGSB-12.8, or through the IGMA Certification Program to ASTM E2190.

      - Annealed float glass shall comply with CAN/CGSB-12.3-M, Quality, Glazing.

      - Tinted annealed float glass shall comply with CAN/CGSB-12.4-M.

      - Heat-Strengthened float glass shall comply with CAN/CGSB-12.9-M, Type 2-Heat-Strengthened, Class A-Float Glass.

      - Tempered float glass shall comply with CAN/CGSB-12.1-M, Type 2, Tempered Glass, Class B-Float Glass.

      - Laminated float glass shall comply with CAN/CGSB-12.1-M, Type 1-Laminated Glass, Class B-Float Glass and with other requirements as specified (UL, NIJ, WMFL, HP White, ASTM F 1233, etc.).

    - Glass shall be annealed, heat-strengthened or tempered as required by codes, or as required to meet thermal stress and wind loads.

    - Glass heat-treated by horizontal (roller hearth) process with inherent roller wave distortion parallel to the bottom edge of the glass as installed when specified.

- Glazing Products

  - Select appropriate glazing sealants, tapes, gaskets and other glazing materials of proven compatibility with other materials that they contact. These include, but are not limited to, glass products, insulating glass unit seals and glazing channel substrates under installation and service conditions, as demonstrated by testing and field experience.

PART 3 - EXECUTION

  - EXAMINATION

- Site Verification and Conditions

- Verify that site conditions are acceptable for installation of the glass.

- Verify openings for glazing are correctly sized and within tolerance.

- Verify that the minimum required face and edge clearances are being followed.

- Do not proceed with glazing until unsatisfactory conditions have been corrected.

  - PREPARATION

  - Protection

- Handle and store product according to manufacturers’ recommendations.

  - Surface Preparation

- Clean and prepare glazing channels and other framing members to receive glass.

- Remove coatings and other harmful materials that will prevent glass and glazing installation required to comply with performance criteria specified.

  - INSTALLATION

- Install products using the recommendations of manufacturers of glass, sealants, gaskets and other glazing materials, except where more stringent requirements are indicated, including those in the “GANA Glazing Manual”.

- Install glass in prepared glazing channels and other framing members.

- Install setting blocks in rabbets as recommended by referenced glazing standards in GANA Glazing Manual and IGMA Glazing Guidelines.

- Provide bite on glass, minimum edge and face clearances and glazing material tolerances recommended by GANA Glazing Manual.

- Provide weep system as recommended by GANA Glazing Manual.

- Set glass lites in each series with uniform pattern, draw, bow and similar characteristics.

- Distribute the weight of the glass unit along the edge rather than at the corner.

- Comply with manufacturer’s and referenced industry recommendations on expansion joints and anchors, accommodating thermal movement, glass openings, use of setting blocks, edge, face and bite clearances, use of glass spacers, edge blocks and installation of weep systems.

- Protect glass from edge damage during handling and installation.

- Prevent glass from contact with contaminating substances that result from construction operations, such as weld spatter, fireproofing or plaster.

  - CLEANING

- Clean excess sealant or compound from glass and framing members immediately after application, using solvents or cleaners recommended by manufacturers.

- Glass to be cleaned according to:

- GANA Glass Informational Bulletin GANA 01-0300 - Proper Procedures for Cleaning Architectural Glass Products.

- GANA Glass Information Bulletin GANA TD-02-0402 – Heat-Treated Glass Surfaces Are Different.

- Do not use scrapers or other metal tools to clean glass.

END OF SECTION