Zero Sightline Series 2750 StormMax

Section 08 51 13  (08520)

# Aluminum Windows

PART 1	GENERAL

1.01	SUMMARY

A.  Section Includes:

1.  Aluminum Prime Windows:

a.	Type:___________ [Choose all that apply: Outward Projected or Outswinging Casement]

b.	Category:  Commercial (C)

c.	Designation:___________ [Choose all that apply: AP-C60, C-C60]

B.  Related Sections:

1.	Section 07 92 00 (07900) Joint Sealers

- Section 08 80 00 (08800) Glass and Glazing

- Section 08 44 13 (08920) Glazed Aluminum Curtain Wall

1.02	TESTING AND PERFORMANCE REQUIREMENTS

A.	Test Procedures and Performance:

- Specifications for Windows, Doors and Unit Skylights: AAMA 101.

- Air Infiltration Test: ASTM E 283, at 6.24 psf static air pressure differential.  Air infiltration shall not exceed

0.10     CFM per sq. ft.

- Water Resistance Test:  ASTM E 331, no water leakage at 15 psf static air pressure differential.

- Uniform Load Deflection Test: ASTM E 330, at static air pressure of +/- 60 psf.  No member shall deflect

more than 1/175 of its span.

- Uniform Load Structural Test: ASTM E 330, at static air pressure difference of +/- 90 psf.

- Condensation Resistance Test: AAMA 1503.1, CRF shall be not less than 40

- Thermal Transmittance Test: AAMA 1503.1, U-Value shall not exceed 0.65

- Large Missile Impact: Level (D) in accordance with ASTM E 1886 and ASTM E 1996.

- Acoustical Test: ASTM E 90 / ASTM E 413, reference 2.02, D. for acoustical glass type, or Section 08 80

00 (08800). [Delete 1.02, A., 11. if there are no sound abatement requirements]

1.03	REFERENCES

A.	AAMA (American Architectural Manufacturers Association)

B.	ANSI (American National Standards Institute)

C.	ASTM (American Society for Testing and Materials)

D. 	GANA (Glass Association of North America)

1.04	SUBMITTALS

A.	Provide submittals in a timely manner to meet required construction completion schedule and in accordance with specifications.

1.	Shop Drawings:

a.	Show components complete with dimensions, material and details of anchoring and fastening.

- Show finishes, sealants and other information indicating compliance with specifications.

- Submit test report per 1.02 TESTING AND PERFORMANCE REQUIREMENTS.

2.	Samples:

a.	Components: submit samples of anchors, fasteners, hardware, assembled corner sections and other materials and components if requested by architect.

b.	Finish: submit full range of color samples for approval by architect.

- Warranties: submit written copies in accordance with - 1.06 WARRANTIES.

1.05	DELIVERY, STORAGE AND HANDLING

A.	Protect materials from damage before installation per instructions and in accordance with specifications.

1.06	WARRANTIES

A.	Window System:

- Qualified window manufacturer, with proven financial responsibility and years of experience of at least the length of the warranty period shall provide written _____ [2, 5, or 10] year warranty against defects in materials and workmanship.

PART 2 	PRODUCTS

2.01	MANUFACTURER

A.	Oldcastle BuildingEnvelope®.  Drawings and Specifications are based on Zero Sightline Series 2750 StormMax.

2.02	MATERIALS

- Aluminum: 6063-T5 alloy shall have 0.125 wall thickness.

1.	Extrusions: comply with ASTM B 221.  Extrusion tolerances shall meet ANSI H35.2.

- Sheet: comply with ASTM B 209.

- Frames:

  - Depth: 3”

  - Design: Flat or pocket glazing installation.

4.	Ventilators:

a.	Depth: 3”

b.	Design: Zero sightline, structural glazed, flush with frame, mitered, nominal vent frame exposure.

B.	Hardware: material shall be corrosion resistant and compatible with aluminum.  Hardware must prove its strength and suitability by being installed on units that are tested in accordance with specifications.

1.	Fasteners: provide nonmagnetic stainless steel screws, epoxy adhesives, or other material warranted by the manufacturer.

2.	Operating Hardware: Window Type:_________________ [Choose those that apply and create B., 3. for additional window types:  Projected, Casement]

a.	Ventilator hinges type: _________ [Reference Design Guide-Hardware]

b.	Ventilator locks type: _________ [Reference Design Guide-Hardware]

c.	Ventilator handles type: _________ [Reference Design Guide-Hardware]

d.	Ventilator operators type: _________ [Reference Design Guide-Hardware]

e.	Hold-open and limit devices type: _________ [Reference Design Guide-Hardware]

D.	Sealants: color of exposed sealants shall be compatible with adjacent window materials.  Comply with AAMA 803.3.

E.	Glazing: windows shall be factory glazed with structural silicone.

1.	Glass: provide in accordance with Section 08 80 00 (08800).

- Glazing Materials: units shall be wet glazed using structural silicone, setting blocks, edge blocks and
     accessories as recommended by and in accordance with GANA Glazing Manual.

- Weatherstripping: shall be non-shrinking, resistant to ultraviolet degradation, and replaceable closed cell elastomer shall
      meet ASTM C 509.  Dense elastomer shall meet ASTM C 864.

- Ventilators: provide one row of compression type neoprene/EPDM alloy or Santoprene.

G.	Muntins: shall be ________ [Choose the one that applies: interior face applied, exterior face applied, between-the-glass - Reference Design Guide-Muntins] [Between-the-glass muntins specified in Section 08 80 00 (08800)] [Delete 2.02, H. if Muntins are not used]

H.	Screens: shall be ___________ [Choose all that apply: hinged or wicket] with frames the same finish as window surface. 18 x 16 black aluminum mesh, standard.  [Reference Design Guide- Screens]

2.03	FABRICATION

A.	Frames: mitered and sealed to form a watertight joint.

B.	Ventilators: mitered and sealed to form a watertight joint.

C.	Component Forming: all aluminum components shall be formed, free of scratches and burrs, before application of finish.

  - FINISHES

- Cover all exposed areas of aluminum windows and components. Overall finish shall be____________________. [Choose one that applies: Clear Anodized, Color Anodized, 70% Polyvinylidene Fluoride]

[Clear Anodized]

1.	Type: Architectural Class I clear anodizing.

2.	AAMA Specification: Comply with AAMA 611.

3.	Aluminum Association Designation: AA-M10-C22-A41.

4.	Color:  Clear 215-R1

[Color Anodized]

1.	Type: Architectural Class I for color anodizing.

2.	AAMA Specification: Comply with AAMA 611.

3.	Aluminum Association Designation: AA-M10-C22-A44.

4.	Color: __________ [ Champagne bronze, light bronze, medium bronze, dark bronze, or black.]

[70% Polyvinylidene Fluoride]

1.	Type: high performance baked-on organic coating.

2.	AAMA Specification: Comply with AAMA 2605.

3.	Aluminum Association Designation: AA-M10-C22-A4X.

4.          Color: __________ [Reference Design Guide-Finishes]

PART 3	EXECUTION

3.01	INSPECTION

A.	Verify that openings are dimensionally within allowable tolerances, plumb, level, clean, provide a solid anchoring surface and are in accordance with approved shop drawings.

3.02	INSTALLATION

A.	Install windows with skilled tradesman in accordance with approved shop drawings and specifications.

B.	Unfinished aluminum shall be insulated from direct contact with steel, masonry concrete, and non-compatible materials by bituminous paint, zinc chromate primer or other suitable insulating material.

C.	Install vapor retarder/air barrier in accordance specifications between window perimeter and adjoining collateral materials and existing wall barriers to assure continuity.

D.	Plumb window faces in a single plane for each wall plane.  Erect square and true.  Anchor to maintain position when subjected to normal thermal and building movement, seismic forces and specified wind loads.

- Apply sealants at joints and intersections and at opening perimeters in accordance with approved shop drawings and Section 
     07 93 13 (07900) to provide watertight installation.

3.03	FIELD QUALITY CONTROL

- Conduct on-site air and water infiltration tests in accordance with AAMA 502, ASTM E 783, ASTM E 1105 and with
     architect and window manufacturer's representative present.  Architect will select units to be tested.  Air infiltration 
     shall not exceed 1.5 x air infiltration amount specified for laboratory testing.

B.	Tested units not meeting specified requirements and units having similar deficiencies shall be corrected at no cost to owner.

C.	Cost for successful tests shall be paid by owner.  Unsuccessful tests shall be paid by contractor.

D.	Testing shall be by agency acceptable to architect and window manufacturer and employed by contractor.

3.04	ADJUSTING AND CLEANING

A.	After installation and testing, windows and glazing shall be inspected, adjusted, and left clean and free of labels and dirt.  Protect finished installation against damage.

- Final cleaning of anodized finish shall be in accordance with AAMA 609.1; painted finish shall be in accordance with AAMA
     610.1.

END OF SECTION